## Compliance Register
Record ID | Site | Asset ID | Asset / System | Location within Site | Regulation / Standard | Requirement | Category | Frequency | Interval (Days) | Last Completed | Certificate / Report Ref | Next Due Date | Days Until Due | Status | Responsible Contractor | Notes / Actions
COMP-0001 | CITY | CITY-GAS-001 | Gas Boiler | Boiler Room / Plant Room | Gas Safety (Installation & Use) Regulations 1998 | Annual gas boiler service by Gas Safe registered engineer | STAT | Annual | 365 |  |  |  |  | Not Scheduled
COMP-0002 | CITY | CITY-ELEC-001 | Fixed Electrical Installation | All Areas | Electricity at Work Regulations 1989 | Electrical Installation Condition Report (EICR) | STAT | Every 5 years (offices) | 1825 |  |  |  |  | Not Scheduled
COMP-0003 | CITY | CITY-FIRE-001 | Fire Alarm System | All Areas | Regulatory Reform (Fire Safety) Order 2005 | Weekly fire alarm test by nominated Responsible Person | STAT | Weekly | 7 |  |  |  |  | Not Scheduled |  | Test must be recorded in the fire log book. Rotate zones tested.
COMP-0004 | CITY | CITY-FIRE-001 | Fire Alarm System | All Areas | Regulatory Reform (Fire Safety) Order 2005 | Six-monthly fire alarm inspection and service by competent fire engineer | STAT | Every 6 months | 182 |  |  |  |  | Not Scheduled
COMP-0005 | CITY | CITY-FIRE-002 | Emergency Lighting | All Areas | Regulatory Reform (Fire Safety) Order 2005 / BS 5266-1 | Monthly emergency lighting function test (flick test) | STAT | Monthly | 30 |  |  |  |  | Not Scheduled |  | Record results in lighting log book.
COMP-0006 | CITY | CITY-FIRE-002 | Emergency Lighting | All Areas | Regulatory Reform (Fire Safety) Order 2005 / BS 5266-1 | Annual full rated-duration emergency lighting test (3-hour test) | STAT | Annual | 365 |  |  |  |  | Not Scheduled |  | Plan during low-occupancy period. All luminaires must sustain full rated duration.
COMP-0007 | CITY | CITY-FIRE-003 | Fire Extinguishers | All Areas | Regulatory Reform (Fire Safety) Order 2005 / BS 5306-3 | Annual service and inspection of all fire extinguishers by competent person | STAT | Annual | 365 |  |  |  |  | Not Scheduled
COMP-0008 | CITY | CITY-HVAC-001 | Air Conditioning Unit(s) | Office Areas | F-Gas Regulation (EU) 517/2014 (retained in UK law) | F-Gas refrigerant leak check - frequency determined by CO2e charge size | STAT | Risk-assessed - confirm CO2e charge with F-Gas engineer | [5 empty] | Not Scheduled |  | ACTION REQUIRED: confirm refrigerant type and CO2e charge for each unit. <5 tCO2e = annual check; 5-50 = 6-monthly; >50 = quarterly. Only F-Gas certified engineer may work on system.
COMP-0009 | CITY | CITY-HVAC-001 | Air Conditioning Unit(s) | Office Areas | PPM - Manufacturer / Best Practice | Annual service, filter clean and performance check | PPM | Annual | 365 |  |  |  |  | Not Scheduled
COMP-0010 | CITY | CITY-L8-001 | Water System (Cold & Hot) | All Areas | L8 ACoP / HSG274 Part 2 - Legionella Control | Monthly hot and cold water temperature monitoring at sentinel taps | STAT | Monthly | 30 |  |  |  |  | Not Scheduled |  | Hot water: 50°C+ at outlets within 1 min; 60°C at calorifier. Cold water: below 20°C at outlets. Investigate and record any exceedances immediately.
COMP-0011 | CITY | CITY-L8-001 | Water System (Cold & Hot) | All Areas | L8 ACoP / HSG274 - Legionella Control | Legionella risk assessment review by competent person | STAT | Every 2 years | 730 |  |  |  |  | Not Scheduled |  | Review sooner if significant changes to the building or water system occur.
COMP-0012 | CITY | CITY-ELEC-002 | Portable Appliances | All Areas | Electricity at Work Regulations 1989 | PAT testing - frequency set by formal risk assessment | STAT | Risk-assessed | [5 empty] | Not Scheduled |  | ACTION REQUIRED: complete PAT risk assessment to set formal frequency. Offices typically 2-4 years for Class I equipment; annually for Class II.
COMP-0013 | MFG | MFG-ELEC-001 | Fixed Electrical Installation | All Areas | Electricity at Work Regulations 1989 | Electrical Installation Condition Report (EICR) - Industrial premises | STAT | Every 3 years (industrial) | 1095 |  |  |  |  | Not Scheduled
COMP-0014 | MFG | MFG-FIRE-001 | Fire Alarm System | All Areas | Regulatory Reform (Fire Safety) Order 2005 | Weekly fire alarm test by nominated Responsible Person | STAT | Weekly | 7 |  |  |  |  | Not Scheduled |  | Record in fire log book. Rotate zones tested each week.
COMP-0015 | MFG | MFG-FIRE-001 | Fire Alarm System | All Areas | Regulatory Reform (Fire Safety) Order 2005 | Six-monthly fire alarm inspection and service by competent fire engineer | STAT | Every 6 months | 182 |  |  |  |  | Not Scheduled
COMP-0016 | MFG | MFG-FIRE-002 | Emergency Lighting | All Areas incl. Warehouse | Regulatory Reform (Fire Safety) Order 2005 / BS 5266-1 | Monthly emergency lighting function test | STAT | Monthly | 30 |  |  |  |  | Not Scheduled |  | Record results in lighting log book. Include warehouse and portakabin areas.
COMP-0017 | MFG | MFG-FIRE-002 | Emergency Lighting | All Areas incl. Warehouse | Regulatory Reform (Fire Safety) Order 2005 / BS 5266-1 | Annual full rated-duration emergency lighting test (3-hour test) | STAT | Annual | 365 |  |  |  |  | Not Scheduled
COMP-0018 | MFG | MFG-FIRE-003 | Fire Extinguishers | All Areas | Regulatory Reform (Fire Safety) Order 2005 / BS 5306-3 | Annual service of all fire extinguishers by competent person | STAT | Annual | 365 |  |  |  |  | Not Scheduled
COMP-0019 | MFG | MFG-HVAC-001 | Air Conditioning Unit(s) | Offices / Workshop | F-Gas Regulation (EU) 517/2014 (retained in UK law) | F-Gas refrigerant leak check - frequency by CO2e charge | STAT | Risk-assessed - confirm CO2e charge with F-Gas engineer | [5 empty] | Not Scheduled |  | ACTION REQUIRED: confirm refrigerant type and CO2e charge for each unit. <5 tCO2e = annual; 5-50 = 6-monthly; >50 = quarterly.
COMP-0020 | MFG | MFG-HVAC-001 | Air Conditioning Unit(s) | Offices / Workshop | PPM - Manufacturer / Best Practice | Annual service, filter clean and performance check | PPM | Annual | 365 |  |  |  |  | Not Scheduled
COMP-0021 | MFG | MFG-L8-001 | Water System incl. Shower Facilities | Portakabin / Offices | L8 ACoP / HSG274 Part 2 - Legionella Control | Monthly hot and cold water temperature monitoring at sentinel taps incl. shower feeds | STAT | Monthly | 30 |  |  |  |  | Not Scheduled |  | ** HIGH RISK - SHOWERS PRESENT ** Portakabin water systems may have low thermal mass and poor insulation. Hot water must reach 60°C at calorifier and 50°C at outlets within 1 minute. Cold water must be below 20°C. Record all results; escalate exceedances immediately.
COMP-0022 | MFG | MFG-L8-002 | Showerheads and Hoses | Shower Facilities | L8 ACoP / HSG274 Part 2 - Legionella Control | Quarterly removal, descaling, disinfection and cleaning of all showerheads and hoses | STAT | Quarterly | 91 |  |  |  |  | Not Scheduled |  | ** HIGH RISK ** Showerheads are a primary Legionella aerosol risk. Remove head, soak in disinfectant (e.g. 50ppm chlorine solution for 1 hour), rinse and refit. Replace if descaling is inadequate. Record disinfection method and result.
COMP-0023 | MFG | MFG-L8-001 | Water System incl. Shower Facilities | Portakabin / Offices | L8 ACoP / HSG274 - Legionella Control | Legionella risk assessment by competent person (showers present - higher risk) | STAT | Every 2 years | 730 |  |  |  |  | Not Scheduled |  | ** HIGH RISK ** Shower facilities elevate this site above standard office risk. Risk assessment must specifically cover shower system design, water temperatures, and portakabin water system characteristics. Review sooner if system changes.
COMP-0024 | MFG | MFG-L8-001 | Infrequently Used Water Outlets | All Areas | L8 ACoP / HSG274 - Legionella Control | Regular flushing of any outlet not used in the previous 7 days | PPM | Weekly (for unused outlets) | 7 |  |  |  |  | Not Scheduled |  | Any tap, shower or outlet not used for 7+ days must be flushed for at least 2 minutes before being returned to normal use. Record outlets flushed and date.
COMP-0025 | MFG | MFG-LIFT-001 | Forklift Truck(s) - Main Body | Warehouse | Lifting Operations and Lifting Equipment Regulations (LOLER) 1998 | Thorough examination of FLT(s) by competent person | STAT | Every 12 months (standard FLT) | 365 |  |  |  |  | Not Scheduled |  | Examination report (form F97 or equivalent) must be retained. If FLT is used to lift persons (e.g. with man-basket), interval reduces to 6 months. Add a separate record per FLT if multiple trucks are on site.
COMP-0026 | MFG | MFG-LIFT-002 | FLT Forks and Lifting Attachments | Warehouse | Lifting Operations and Lifting Equipment Regulations (LOLER) 1998 | Thorough examination of lifting accessories (forks, chains, slings, shackles, hooks) | STAT | Every 6 months | 182 |  |  |  |  | Not Scheduled |  | Includes all loose lifting gear used with the FLT. Examination records must be retained. Remove any item that fails examination from service.
COMP-0027 | MFG | MFG-PRES-001 | Compressed Air System | Workshop / Production | Pressure Systems Safety Regulations (PSSR) 2000 | Thorough examination per Written Scheme of Examination by competent person | STAT | Per Written Scheme (typically 12-26 months for receiver vessels) | [5 empty] | Not Scheduled |  | ** ACTION REQUIRED ** Confirm Written Scheme of Examination (WSE) is in place. Interval is set by the competent person in the WSE. DO NOT operate pressure system without a current, valid Written Scheme.
COMP-0028 | MFG | MFG-PRES-001 | Compressed Air System - Written Scheme | Workshop / Production | Pressure Systems Safety Regulations (PSSR) 2000 | Written Scheme of Examination in place, current and covering all relevant parts | STAT | Review when system changes | [5 empty] | Not Scheduled |  | ** ACTION REQUIRED ** Verify WSE exists, is held on site, and covers all pressure-containing components (receiver vessel, pipework, safety valves). Must be prepared or certified by a competent person.
COMP-0029 | MFG | MFG-RACK-001 | Warehouse Racking | Warehouse | SEMA Code of Practice / Provision and Use of Work Equipment Regs (PUWER) 1998 | Annual expert inspection by SEMA-accredited racking inspector | STAT | Annual | 365 |  |  |  |  | Not Scheduled |  | Inspection must be by a SEMA-accredited inspector. Obtain written report with risk ratings (green/amber/red). Act on amber and red items within timescales specified in report. Also required after any collision or damage incident.
COMP-0030 | MFG | MFG-RACK-001 | Warehouse Racking | Warehouse | SEMA Code of Practice / PUWER 1998 | Regular user racking inspection by trained and appointed Rack Safety Officer | PPM | Monthly (minimum) | 30 |  |  |  |  | Not Scheduled |  | Appoint a Rack Safety Officer and provide SEMA-recognised training. Use structured inspection checklist. Document all inspections. Remove damaged beams/uprights from service immediately - do not wait for expert inspection.
COMP-0031 | MFG | MFG-ELEC-002 | Portable Appliances | All Areas | Electricity at Work Regulations 1989 | PAT testing - frequency set by formal risk assessment | STAT | Risk-assessed | [5 empty] | Not Scheduled |  | ACTION REQUIRED: complete PAT risk assessment. Industrial/warehouse environments typically warrant annual or more frequent testing due to higher risk of cable damage and equipment misuse.
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Not Scheduled
Formulas:
Days Until Due = IF([Next Due Date]="","",[Next Due Date]-TODAY())

## Instructions
Instructions
HOW TO USE THE COMPLIANCE REGISTER
SETUP (one-time)
1. For each row, enter the date the requirement was LAST completed in column K (Last Completed).
2. Column M (Next Due Date) will calculate automatically for fixed-interval items.
For 'Risk-assessed' items (no interval), enter the Next Due Date manually in column M.
3. Enter the responsible contractor in column P.
ONGOING USE
4. When a job is completed, update column K (Last Completed) with the new completion date.
Column M will recalculate automatically.
5. Enter the certificate or report reference number in column L.
6. The Status column (O) updates automatically:
OVERDUE = past due date (red)
Due Within 30 Days = due in <= 30 days (dark orange)
Due Within 90 Days = due in <= 90 days (amber)
Current = more than 90 days away (green)
Not Scheduled = no due date set yet (grey)
RAISING JOBS
7. When a job needs to be raised (e.g. annual boiler service is due), create a
corresponding entry in the Job Log workbook and record the Job ID in the Notes column here.
ADDING NEW ASSETS
8. Add new rows at the bottom of the data. Use the next available COMP-XXXX Record ID.
9. Formulas in columns M, N and O will already be in place for blank rows.
ACTIONS REQUIRED
Items marked ** ACTION REQUIRED ** in the Notes column need attention before the system
can be considered complete (e.g. confirm F-Gas CO2e charges, obtain Written Schemes).
LEGIONELLA HIGH RISK ITEMS
Rows highlighted in yellow contain ** HIGH RISK ** notes.
The MFG site shower facilities require particularly close attention - see notes for each row.